# SAM Sprayfield App – GW-59 Groundwater Monitoring Field Mapping

Source Form: entity[“other”,“GW-59 Groundwater Quality Monitoring Compliance Report Form”,“NC DEQ groundwater monitoring form”]

This document maps each field from the GW-59 PDF into the proper SAM application data location.

# GW-59 Field Mapping (Simplified)

Fields are listed in the same order as the GW-59 PDF.

# 1. Facility Information

| PDF Field | SAM Data Location |
| --- | --- |
| Permit Number | System Administration => Facility => Permit |
| Expiration Date | System Administration => Facility => Permit |
| Facility Name | System Administration => Facility |
| Permit Name (if different) | System Administration => Facility => Permit [note: new field - Permit Alias / Permit Name] |
| Facility Address | System Administration => Facility |
| County | System Administration => Facility |
| Type of Permitted Operation Being Monitored | System Administration => Facility => Permit [note: new field - Permitted Operation Types] |
| Contact Person | System Administration => Facility |
| Telephone # | System Administration => Facility |
| Well Location / Site Name | System Administration => Monitoring Wells => Well Location |
| No. of Wells to be Sampled | System Administration => Monitoring Wells => No. of Wells to be Sampled |

# 2. Sampling Information

| PDF Field | SAM Data Location |
| --- | --- |
| WELL ID NUMBER (from Permit) | Groundwater Monitoring Records => Basic Information => Monitoring Well |
| Date Sample Collected | Groundwater Monitoring Records => Basic Information => Sample Date |
| Well Depth | System Administration => Monitoring Wells => Well Depth (feet) |
| Well Diameter | System Administration => Monitoring Wells => Diameter (inches) |
| pH 00400 | Groundwater Monitoring Records => Physical Parameters [note: new field - Field pH] |
| Temperature 00010 | Groundwater Monitoring Records => Sample Information => Temperature (°F) |
| Depth to Water Level 82546 | Groundwater Monitoring Records => Sample Information => Water Level (ft) |
| Screened Interval Low | System Administration => Monitoring Wells => Low Screen Depth (feet) |
| Screened Interval High | System Administration => Monitoring Wells => High Screen Depth (feet) |
| Specific Conductance 00094 | Groundwater Monitoring Records => Physical Parameters => Specific Conductance (uMhos) |
| Measuring Point is ___ ft above land surface | System Administration => Monitoring Wells [note: new field - Measuring Point Height Above Land Surface (ft)] |
| Relative M.P. Elevation | System Administration => Monitoring Wells => Top of Casing Elevation (msl) |
| Odor 00085 | Groundwater Monitoring Records => Sample Information => Odor |
| Volume of Water Pumped/Bailed Before Sampling | Groundwater Monitoring Records => Sample Information => Gallons Pumped |
| Appearance | Groundwater Monitoring Records => Sample Information => Appearance |
| Samples for Metals Were Collected Unfiltered | Groundwater Monitoring Records => Sample Information [note: new field - Metals Sample Unfiltered] |
| Field Acidified | Groundwater Monitoring Records => Sample Information [note: new field - Field Acidified] |

# 3. Laboratory Information

| PDF Field | SAM Data Location |
| --- | --- |
| Laboratory Name | Groundwater Monitoring Records => Lab Information [note: new field - Laboratory Name] |
| Certification No. | Groundwater Monitoring Records => Lab Information => Lab Certification |
| Date Sample Analyzed | Groundwater Monitoring Records => Lab Information [note: new field - Analysis Date] |
| Collected By | Groundwater Monitoring Records => Lab Information => Collected By |
| Analyzed By | Groundwater Monitoring Records => Lab Information => Analyzed By |

# 4. Parameters

Store under: Groundwater Monitoring Records => Groundwater Permit Template Parameters (Attachment C) unless otherwise noted below. 

IF THE DATA IS NOT IN TEMPLATE, THEN IT WILL NOT BE FILLED OUT ON GW-59

| PDF Parameter | SAM Data Location |
| --- | --- |
| COD 00335 | Attachment C Parameter Template |
| Coliform: MF Fecal 31616 | Attachment C Parameter Template |
| Coliform: MF Total 31504 | Attachment C Parameter Template |
| Dissolved Solids: Total 70300 | Groundwater Monitoring Records => Physical Parameters => TDS (mg/L) |
| pH (Lab) 00403 | Groundwater Monitoring Records => Physical Parameters [note: new field - Laboratory pH] |
| TOC 00680 | Attachment C Parameter Template |
| Chloride 00940 | Attachment C Parameter Template |
| Arsenic 01002 | Attachment C Parameter Template |
| Grease and Oils 00552 | Attachment C Parameter Template |
| Phenol 32730 | Attachment C Parameter Template |
| Sulfate 00945 | Attachment C Parameter Template |
| Specific Conductance 00095 | Groundwater Monitoring Records => Physical Parameters => Specific Conductance (uMhos) |
| Total Ammonia 00610 | Attachment C Parameter Template |
| TKN as N 00625 | Attachment C Parameter Template |
| Nitrite (NO2) as N 00615 | Attachment C Parameter Template |
| Nitrate (NO3) as N 00620 | Attachment C Parameter Template |
| Phosphorus: Total as P 00665 | Attachment C Parameter Template |
| Orthophosphate 70507 | Attachment C Parameter Template |
| Aluminum 01105 | Attachment C Parameter Template |
| Barium 01007 | Attachment C Parameter Template |
| Calcium 00916 | Attachment C Parameter Template |
| Cadmium 01027 | Attachment C Parameter Template |
| Chromium: Total 01034 | Attachment C Parameter Template |
| Copper 01042 | Attachment C Parameter Template |
| Iron 01045 | Attachment C Parameter Template |
| Mercury 71900 | Attachment C Parameter Template |
| Potassium 00937 | Attachment C Parameter Template |
| Magnesium 00927 | Attachment C Parameter Template |
| Manganese 01055 | Attachment C Parameter Template |
| Nickel 01067 | Attachment C Parameter Template |
| Lead 01051 | Attachment C Parameter Template |
| Zinc 01092 | Attachment C Parameter Template |
| Other (Specify Compounds and Concentration Units) | Attachment C Parameter Template |

# 5. Organics

| PDF Field | SAM Data Location |
| --- | --- |
| Lab Report Attached? Yes/No | Groundwater Monitoring Records => Organics => VOC Report Attached (checkbox) |
| VOC Method # | Groundwater Monitoring Records => Organics => VOC Method # |

# 6. Remediation System Only

| PDF Field | SAM Data Location |
| --- | --- |
| Influent Total VOCs | Groundwater Monitoring Records => Organics [note: new field - Influent Total VOCs (mg/L)] |
| Effluent Total VOCs | Groundwater Monitoring Records => Organics [note: new field - Effluent Total VOCs (mg/L)] |
| VOC Removal % | Groundwater Monitoring Records => Organics [note: new field - VOC Removal Percentage] |

# 7. Certification Section

| PDF Field | SAM Data Location |
| --- | --- |
| Permittee (or Authorized Agent) Name and Title | Groundwater Monitoring Records => Additional Information [note: new fields - Submitted By / Submitter Title] |
| Signature of Permittee (or Authorized Agent) | Not Recommended for SAM Data Storage |
| Date | Groundwater Monitoring Records => Additional Information [note: new field - Submission Date] |
| Well Was Dry at Time of Sampling | Groundwater Monitoring Records => Basic Information [note: new field - Well Was Dry During Sampling] |